ARCHITECTURAL SPECIFICATION

Polymer Safety Barrier

SECTION 10 26 16 - Bumper Guards

SECTION 11 12 00 - Parking Control Equipment

SECTION 11 14 16 - Pedestrian Control Devices

SECTION 34 71 13 - Vehicle Barriers

SECTION 34 71 16 – Impact Attenuating Devices

PART 1 – GENERAL

1.1 SUMMARY

A. Work Includes: Supply and installation of modular, energy‑absorbing polymer safety barriers including rails, posts, anchors, accessories, and related hardware.

B. Application Areas: Baggage handling halls, airside logistics lanes, apron perimeters, terminal operations, and other mixed pedestrian/vehicular zones.

C. System Suitability: New construction and retrofit projects within international‑airport facilities.

1.2 REFERENCES

A. PAS 13:2017 – Code of Practice for Safety Barriers in Industrial Workplaces.

B. OSHA 29 CFR 1910 – General Industry Standards.

C. ASTM D256, D638, D790 – Impact, Tensile, and Flexural Properties of Plastics.

D. ASTM E84 – Surface Burning Characteristics of Building Materials.

E. ISO 4892‑3 – Plastics – Methods of Exposure to Laboratory Light Sources – Fluorescent UV Lamps.

F. ISO/TS 10358 – Plastics – Chemical‑Resistance Classification.

G. ISO 9001 and ISO 14001 – Quality and Environmental Management Systems.

1.3 SUBMITTALS

A. Product Data: Polymer formulations, mechanical properties, dynamic‑impact test reports, chemical‑resistance data, fire classification, and environmental declarations.

B. Shop Drawings: Barrier layouts, post spacing, anchorage details, and clearances.

C. Certificates: Third‑party verification of dynamic‑impact performance in accordance with PAS 13.

D. Quality Documentation: Manufacturer ISO 9001 and ISO 14001 certificates; evidence of minimum ten years manufacturing experience with industrial polymer barriers.

E. Manuals: Installation instructions, operation and maintenance (O&M) manuals, and recommended inspection schedules.

1.4 QUALITY ASSURANCE

A. Testing: Dynamic‑impact tests witnessed and certified by an independent, accredited laboratory.

B. Installer Qualifications: Installer shall be trained by manufacturer and shall have completed at least three projects of similar scope in airport or comparable heavy‑traffic environments.

1.5 DELIVERY, STORAGE, AND HANDLING

A. Deliver barrier components in manufacturer’s original packaging, clearly labelled for identification.

B. Store components indoors, elevated above floor, protected from direct sunlight, extreme temperatures, and petroleum‑based chemicals until installation.

1.6 WARRANTY

A. Provide manufacturers’ standard one‑year warranty covering materials.

B. Extended Warranty: Offer option to extend to three years when Owner participates in manufacturer’s recommended installation program.

PART 2 – PRODUCTS

2.1 MANUFACTURERS

A. Basis of Design: Polymer safety‑barrier system meeting the requirements of this Section.

B. Substitution Requests: Submit in accordance with Division 01; products must demonstrate full compliance with all performance criteria herein no later than ten business days prior to bid.

2.2 MATERIALS

A. Rails and Posts: Copolymer elastomer blend; density ≤ 1.0 g/cm³; Shore‑D 60‑70; self‑extinguishing (ASTM E84 Class A).

B. Couplings: Engineered polymer joints designed to control deflection and return barrier to original alignment following design impact.

C. Baseplates: Zinc‑nickel–plated carbon‑steel or stainless‑steel plates providing ≥ 2 000 h salt‑spray resistance per ISO 9227.

D. Fasteners: AISI 316 stainless‑steel or zinc‑nickel class 10.9 bolts and anchors, sized per manufacturer’s calculations.

E. Color: High‑visibility safety yellow, RAL 1003, unless noted otherwise on Drawings; pigmentation homogeneous through section.

F. Recyclability: Polymer components shall be 100 % recyclable at end of service life.

2.3 COMPONENTS

A. Barrier Rails: Single, double, or triple‑rail modules, and available in lengths up to 2400mm.

B. Posts: Square or circular cross‑section, available in heights from 300 mm to 1200 mm; post design shall permit individual replacement without disturbing adjacent anchors.

C. Anchors: Torque‑controlled mechanical anchors or injectable adhesive studs sized to suit substrate thickness and design loads.

D. Accessories: Gates, removable sections, corner modules, column protection, signage brackets, and end‑of‑run bollards supplied by same manufacturer.

2.4 PERFORMANCE REQUIREMENTS

A. Dynamic‑Impact Resistance: Not less than 20 kJ at 90° impact angle without post fracture or anchor failure, tested in accordance with PAS 13 Annex C.

B. Permanent Deflection: Maximum 3 % of original height 60 minutes after design impact.

C. Operating Temperature Range: −10 °C to +50 °C without loss of mechanical performance.

D. Chemical Resistance: Rated “Excellent” to aviation fuels, hydraulic fluids, de‑icing chemicals, road salts, and common acids and alkalis per ISO/TS 10358.

E. UV Stability: Color change ΔE ≤ 3 after 1000 hours exposure using ISO 4892‑3 cycle 1.

F. Surface Resistivity: 10¹⁰ – 10¹² Ω to dissipate static charge in fuel‑handling areas.

2.5 FABRICATION

A. Manufacture components to dimensions and tolerances indicated on Shop Drawings; form rails and posts in continuous molding process without welded seams.

B. Finish: Provide smooth, uniform surfaces free from burrs, voids, or sharp edges.

PART 3 – EXECUTION

3.1 EXAMINATION

A. Verify site conditions and substrate strength; concrete compressive strength shall be ≥ 25 MPa and slab thickness ≥ 150 mm unless alternative anchoring design is submitted.

B. Confirm installation locations and clearances with Owner’s representative prior to drilling.

3.2 PREPARATION

A. Clean substrate to remove dust, debris, and contaminants; locate and mark all embedded services.

B. Where required, perform ground‑penetrating‑radar scan to avoid reinforcement conflicts.

3.3 INSTALLATION

A. Install barrier system in strict accordance with manufacturer’s printed instructions and approved Shop Drawings.

B. Drill anchor holes to specified diameter and depth; install anchors using manufacturer‑recommended torque values.

C. Set rails level within ±3 mm and plumb posts within ±2 mm; provide expansion gap of 5 mm per 10 m run for thermal movement.

3.4 FIELD QUALITY CONTROL

A. Inspection: Verify anchor torque, rail alignment, post spacing, and clearance envelopes; document results on manufacturer’s inspection checklist.

B. Anchor Proof Testing: Perform pull tests on 2 % of total anchors, minimum two per project area, to 50 % of ultimate design load.

3.5 ADJUSTING AND CLEANING

A. Replace damaged or improperly installed components.

B. Clean completed installation; remove debris and packaging from site.

3.6 PROTECTION

A. Protect barrier system from construction traffic until Date of Substantial Completion.